## Cast summary
VERTIGO water plans
CTD/Rosette | sensors to include Fluorometer, Tranmissometer, scatterometer, PIC sensor, O2, CTD
0-1000m
Std depths- 5, 25, 50, 75, 100, 125, 150, 200, 300, 400, 500, 750, 1000 (note HOT uses 350, we adjust to 300m trap depth)
see Bio cast sheet for bottle trips- generally top depths have 2-3 bottles, 2 bottles at trap depths
(note MLZ <50m in summer; adjust to sample Chl max; O2 min at 750m)
Std bio casts- goal is characterization of changing partcle source characteristics & daily changes during trap sampling
0-1000m
ID | volume | group | depths | comments
nutrients | 100 ml | Buesseler | upper | nitrate, nitrite, phosphate, silicate all on frozen samples at WHOI
salinity | 200 ml | Buesseler | upper | salinty bottles- selected samples for calibration checks, analyzed back on shore
pigments | 2000 ml | Bidigare | euphotic | LN2 freeze 25mm GFF filters for analyses at UH
234Th | 4500 ml | Buesseler/Savoye | 0-500m | Mn ppt and beta counting at sea. 10 point profiles
Prim Prod | 1000 ml? | Boyd | euphotic | 14C on deck incubations
New Prod | 12 L | Dehairs | n=3 euphotic | separate Niskin bottles- PN (2L); N2 fixation (2x2L); NO3, NO2, NH4 uptake (each 2x1L)
ID plankton | 1000 ml | Silver | upper | microscopic ID- first order work done at sea
Bacteria prod | 500 ml? | Casciotti | 0-1000m | only once per trap deployment, twice on cruise
ID Bacteria | 1000 ml | Van Mooy | all | filtered on to nucleopore and LN2 frozen; only once per trap deployment, twice on cruise
Fv/Fm | 100 ml | Boyd | upper | analyzed on board
Chl | 1000 ml? | Boyd | selected for calibration | on GFF, extract and analyzed on board. Turner flurometer
oxygen | ? | Boyd | for calibration | analyzed on board
N microbio | 2-4L | Casciotti | 0-1000m
DNA/rna | 1l | Van Mooy | 0-1000m
dissolved Ba | 50 | Dehairs | 0-1000m
13C-DIC | 1000 | Trull | surface bottle only | 12 days total, poisoned with HgCl2, analysed in Hobart
ETS | 2000 | Boyd | 0-1000m? | ETS activity and bacterial ecto-enzyme work
NEED 3 scientists to launch/recover & sample CTD- 12 on 12 off as needed - Pairs listed here under 1, 2 & 3 below should arrange to cover 24 hour schedule
1. Siegel and Casciotti
2. Boyd and Trull
3. Dehairs and Buesseler
4. Spare/4th person on call & as needed for sampling- Steinberg?
CTD watch groups prep CTD, pull samples as needed, filter HPLC, Bacteria & other samples and store
See ships plan "Std bio cast" every other day 4, 6, 8, 10 & repeat, so approx. 10+ casts per cruise (bottles at 8-12 depths; 100-150 samples) & "SS" survey work during trap deployments
Site Survey casts- "reduced load"- look for spatial variability in food web/biogeochemistry - Days 1-3 & 10-11, 18-19, I.e. pre/post trap sampling
0-500m only
one sample upper mixed layer (10m?); one in Chl max.
ID | volume | group | depths | comments
nutrients | see above |  | MLZ & Chl max | need to decide what we can manage from survey casts
salinity |  |  | MLZ & Chl max | Basically sample Mixed layer and subsurface Chl max only for bottle samples- pigments, nutrients, plankton ID, bacteria ID, Fv/Fm, etc.
pigments |  |  | MLZ & Chl max
234Th |  |  | MLZ & Chl max
SPM | 2-4L | Bishop | 0-1000m | calibrate tranmissometer
POC/PON? | 2000+ml? | Bishop? | upper | compare bottles to to pumps?
ID plankton |  |  | MLZ & Chl max
Bacteria prod
ID Bacteria | 1000 ml |  | MLZ & Chl max
Fv/Fm |  |  | MLZ & Chl max
Chl
oxygen
NEED 3 scientists to launch/recover & sample CTD- 12 on 12 off as needed-Pairs listed here under 1, 2 & 3 below should arrange to cover 24 hour schedule
1. Siegel and Casciotti
2. Steinberg and Bishop
3. Trull and Dehairs
4. Spare/4th person on call & as needed for sampling- Buesseler? Boyd?
CTD watch groups prep CTD, pull samples as needed, filter HPLC, Bacteria & other samples and store
See cruise plan "Site survey casts" days 1 & 2, 10 & 11, 18 & 19
est. 24 per 48 hour survey periods, so 75 per cruise, plus 24 extra = 100 "reduced" load casts (I.e. bottles at 2? depths; n=200 samples)

## Bio cast sheet
Standard Biological Cast | [18 empty] | as needed
0-1000m | [18 empty] | calibration
[5 empty] | n= | [9 empty] | ***** once? per trap deployment********* |  |  |  | salinity
Target | Bottle | ************ from CTD ************ |  |  | 5 | 6 | 10 | 8 | 12 | 5 | 10 | 12 | 12 | 1 | 11 |  |  |  | chl | sum volume
Depth | Number | Pressure | Temp | Salinity | PProd | New Prod | Export-Th | plankton | bacteria | Fv/Fm | pigments | nutrients | diss Ba | 13C-DIC | N microbio | micro ID | Bact Prod | ETS | O2
1000 | 1 | [7 empty] | 1000 |  |  | 200 | 50 |  | 2000 | 1000 | 500 | 2000 |  | 6750
750 | 2 | [7 empty] | 1000 |  |  | 200 | 50 |  | 2000 | 1000 | 500 | 2000 |  | 6750
500 | 3 | [13 empty] | 6000 | 1000 | 500 | 2000 |  | 9500
500 | 4 | [5 empty] | 4500 |  | 1000 |  | 2000 | 200 | 50 | [6 empty] | 7750
400 | 5 | [13 empty] | 6000 | 1000 | 500 | 2000 |  | 9500
300 | 6 | [13 empty] | 6000 | 1000 | 500 | 2000 |  | 9500
300 | 7 | [5 empty] | 4500 | 1000 | 1000 |  | 2000 | 200 | 50 | [6 empty] | 8750
200 | 8 | [5 empty] | 4500 |  | 1000 |  | 2000 | 200 | 50 | [6 empty] | 7750
150 | 9 | [13 empty] | 6000 | 1000 | 500 | 2000 |  | 9500
150 | 10 | [5 empty] | 4500 | 1000 | 1000 |  | 2000 | 200 | 50 | [6 empty] | 8750
125 | 11 | [5 empty] | 4500 | 1000 | 1000 |  | 2000 | 200 | 50 | [6 empty] | 8750
100 | 12 | [13 empty] | 6000 | 1000 | 500 | 2000 |  | 9500
100 | 13 |  |  |  | 1000 |  | 4500 | 1000 | 1000 | 200 | 2000 | 200 | 50 | [6 empty] | 9950
75 | 14 | [13 empty] | 6000 | 1000 | 500 | 2000 |  | 9500
75 | 15 |  |  |  | 1000 |  | 4500 | 1000 | 1000 | 200 | 2000 | 200 | 50 | [6 empty] | 9950
50 | 16 |  |  |  |  | 2000 | [8 empty] | 6000 | 1000 | 500 |  |  | 9500
50 | 17 |  |  |  |  | 10000 | [13 empty] | 10000
50 | 18 |  |  |  | 1000 |  | 4500 | 1000 | 1000 | 200 | 2000 | 200 | 50 | [6 empty] | 9950
25 | 19 |  |  |  |  | 2000 | [8 empty] | 6000 | 1000 | 500 |  |  | 9500
25 | 20 |  |  |  |  | 10000 | [13 empty] | 10000
25 | 21 |  |  |  | 1000 |  | 4500 | 1000 | 1000 | 200 | 2000 | 200 | 50 | [6 empty] | 9950
5 | 22 |  |  |  |  | 2000 | [8 empty] | 6000 | 1000 | 500 |  |  | 9500
5 | 23 |  |  |  |  | 10000 | [13 empty] | 10000
5 | 24 |  |  |  | 1000 |  | 4500 | 1000 | 1000 | 200 | 2000 | 200 | 50 | 1000 | [5 empty] | 10950

## HighResCasts
High Vertical Resolution Cast for finescale variations in nutricline
Two casts total, close in time to Bishop pump casts
1 early in cruise
1 late in cruise
Depths are nominal based on historical HOT data, and will be adjusted based on CTD sensors on the day.
Nitrate increases from <1 to >40umol between ~100 and ~300m depth.
POC/PON
SPM
[5 empty] | n= | [8 empty] | salinity |  |  |  | Trull or | Trull or?
Target | Bottle | ************ from CTD ************ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 24 | 0 | chl |  |  | Trull | Dehairs? |  | sum volume
Depth | Number | Pressure | Temp | Salinity | PProd | New Prod | Export-Th | plankton | bacteria | Fv/Fm | pigments | nutrients | diss Ba | O2 | 15N-NO3 | 13C-DIC | nitrite | NH4+ | urea
500 | 1 | [10 empty] | 200 |  |  | 500 | 1000 | 200 | 300 | 200 | 2400
400 | 2 | [10 empty] | 200 |  |  | 500 | 1000 | 200 | 300 | 200 | 2400
350 | 3 | [10 empty] | 200 |  |  | 500 | 1000 | 200 | 300 | 200 | 2400
300 | 4 | [10 empty] | 200 |  |  | 500 | 1000 | 200 | 300 | 200 | 2400
250 | 5 | [10 empty] | 200 |  |  | 500 | 1000 | 200 | 300 | 200 | 2400
240 | 6 | [10 empty] | 200 |  |  | 500 | 1000 | 200 | 300 | 200 | 2400
230 | 7 | [10 empty] | 200 |  |  | 500 | 1000 | 200 | 300 | 200 | 2400
220 | 8 | [10 empty] | 200 |  |  | 500 | 1000 | 200 | 300 | 200 | 2400
210 | 9 | [10 empty] | 200 |  |  | 500 | 1000 | 200 | 300 | 200 | 2400
200 | 10 | [10 empty] | 200 |  |  | 500 | 1000 | 200 | 300 | 200 | 2400
190 | 11 | [10 empty] | 200 |  |  | 500 | 1000 | 200 | 300 | 200 | 2400
180 | 12 | [10 empty] | 200 |  |  | 500 | 1000 | 200 | 300 | 200 | 2400
170 | 13 | [10 empty] | 200 |  |  | 500 | 1000 | 200 | 300 | 200 | 2400
160 | 14 | [10 empty] | 200 |  |  | 500 | 1000 | 200 | 300 | 200 | 2400
150 | 15 | [10 empty] | 200 |  |  | 500 | 1000 | 200 | 300 | 200 | 2400
140 | 16 | [10 empty] | 200 |  |  | 500 | 1000 | 200 | 300 | 200 | 2400
130 | 17 | [10 empty] | 200 |  |  | 500 | 1000 | 200 | 300 | 200 | 2400
120 | 18 | [10 empty] | 200 |  |  | 500 | 1000 | 200 | 300 | 200 | 2400
110 | 19 | [10 empty] | 200 |  |  | 500 | 1000 | 200 | 300 | 200 | 2400
100 | 20 | [10 empty] | 200 |  |  | 500 | 1000 | 200 | 300 | 200 | 2400
75 | 21 | [10 empty] | 200 |  |  | 500 | 1000 | 200 | 300 | 200 | 2400
50 | 22 | [10 empty] | 200 |  |  | 500 | 1000 | 200 | 300 | 200 | 2400
25 | 23 | [10 empty] | 200 |  |  | 500 | 1000 | 200 | 300 | 200 | 2400
5 | 24 | [10 empty] | 200 |  |  | 500 | 1000 | 200 | 300 | 200 | 2400