**2015 Davis Strait Pre-Cruise Meeting: BIO Chemistry Programme**

1. **Requirements for setting up Transient Tracer System**
* 10ft of bench space close to 20 amp 120V receptacle (see picture below), the GC is sited centrally in the 10ft space and only has about 4 ft of cable



* Somewhere to strap three cylinders of non-flammable compressed gas: 1 nitrogen and 2 compressed air, to supply GC. Could these be near the above-mentioned bench to avoid long runs of tubing?
* Close proximity to walk-in cool room. I propose to store racks of syringes containing water samples in the cool room prior to analysis.
* Site to secure 2 x 40 L Dewars of liquid nitrogen.
1. **Winkler DO system**
* 4 ft of bench space near to sink and milli-Q DI water (Do we need to bring DI water?)
1. **pCO2 underway sensor**
* Location next to sink that has non-contaminated underway seawater supply.
* Small amount of adjacent counter top to secure data logging computer.
1. **Nutrients**
* Approx. 6 cu ft. of space in -80 freezer
1. **Accommodation during de-mob if cruise is shortened (we’re flying out on 26th September)**
2. **Date for retrieval of gear from Atlantis at WHOI**