## Sheet1
Proposed Configuration for AZMP Spring 2020 Shelf Survey aboard the RV Neil Armstrong
Channel | Attached | Brand | Owner | Owner To Provide | Comments
JT1 | Sea Cable |  | WHOI
JT2 | Chlorophyll/Turbidity | WetLabs FLNTURTD | WHOI | sensor and cable | both channels
JT3 | Dissolved Oxygen 1 | Seabird | DFO | Y cable
| Dissolved Oxygen 2 | Seabird | WHOI | A mount for the dual sensors required as well as plumbing to the primary or secondary T/S pair
JT4 |  |  |  |  | Not available
JT5 | PAR | Satlantic | DFO | Y cable and cables to Y | Terry checked the length of the cable to Y and it is 11 ft (it will also need a mount)
| Altimeter | Valeport? | WHOI |  | Is the WHOI sensor a Valeport and does the connector type match ours if we bring it as a spare?
JT6 | pH | Seabird | DFO | Y,cable to Y and sensor | A mount will be required for the frame
| CDOM | Seapoint UV | DFO | Y,cable to Y and sensor | A mount will be required for the frame
JT7 | Water Carousel |  | WHOI
-65.568